Macclesfield, Cheshire SK10 2BN

DECLARATION OF CONFORMANCE

DoC No: JCI/FSDALIHEPD

| Product Type: | Aluminium Bifold Double Glazed Door |
| --- | --- |
| Intended Use: | For use in domestic and commercial premises Not intended for use on escape route |
| Declared System of Assessment Performance: | 3 |
| Provisions to which the Product Conforms: | Annex ZA of EN 14351-1:2006+A2:2016 |
| Reference to Supporting Product Certification and/or Test Reports (supportive of compliance): | Exova - Weather Tightness Report: WIL 383704 Rosenheim - Thermal Performance Report:12-000309-PRO1 |
| Declared Performance: Essential Characteristics | Performance |
| Resistance to Wind Load: | Class B3 (1200Pa) |
| Watertightness: | Class 4A (150Pa) |
| Dangerous Substance: | No emissions of dangerous substances emitted |
| Load Bearing Capacity of Safety Device: | Npd |
| Acoustic Performance | Npd |
| Thermal Transmittance: | 1.4w/(m2K) |
| Radiation Properties: | Npd |
| Air Permeability: | Class 3 (600Pa) |
| This declaration of performance is issued under the sole responsibility of JCI Limited. Signed for and on behalf of the Company by Name of Representative: John Collins Job Title: Managing Director Representative Signature: Date of Issue: 1st June 2022 |  |

Product CE Marking Detail:

JCI Limited Macclesfield. SK10 2BN

19

EN 14351-1:2006+A2:2016

Aluminium Bifold Double Glazed Door DoC No: JCI/FSDALIHEPD Not intended for use on escape route